# High/Low Selector

We use M-System’s high/low selector M2SES at our factory.

We are keeping several pieces of M2SES in stock by suffix code 1 (low selector) and 2 (high selector).  We like to have a module which is configurable with high or low selector, that can reduce our inventory.  Does M-System have that kind of a product?

We’d like to introduce  a newly developed high/low selector model M2SES2.

By selector DIP switches on the side of unit, you can choose the output function: High/Low output, normal output proportional to the input 1, or loop test output of 0%, 50% and 100%.